## Slide 1: CCHC Combination Cleaning & Disinfectant Products
Product Name | Type of Disinfectant | Contact Time Required | Examples of Use
Virex 256 - liquid | 660 ppm Quaternary Ammonium Compound | Surface must remain wet for 10 minutes | Floors, room surfaces, bathrooms, spills blood/body fluids
PDI Super Sani-Wipes | 5000 ppm Quaternary Ammonium Chlorides and 55% alcohol | Surface must remain wet for 2 minutes | Wheelchairs, stretchers, desks, computer keyboard, over-bed tables, portable x-ray machines
Dispatch Wipes and Liquid Gluco Chlor Wipes | .525% sodium hypochlorite (bleach) = 5,500 ppm or 1:10 dilution | Surface must remain wet for 1 minute | Enteric Contact Precautions – all surfaces and reusable equipment in contact with patient / patient environment Glucometers